{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":96,"n_cols":13,"rows_kept":96,"merged":[[0,0,0,12],[1,0,3,0],[1,1,3,1],[1,2,3,2],[1,3,3,3],[1,4,3,4],[1,5,3,5],[1,6,3,6],[1,7,3,7],[1,8,3,8],[1,9,3,9],[1,10,2,12]],"flags":["formulas_cached_only"]}
["广州市2019年定量包装商品净含量计量监督抽查统计表（电线电缆）"]
["序号","受检企业名称","受检企业地址","区域","标称商标和商品名称","标称生产企业名称","标称生产企业地址","标注净含量","批号/生产日期/限用日期","抽查件数","抽查结果"]
[]
[{"$nulls":10},"净含量标注","净含量检验","总体结论"]
[1,"广州市越秀区威尔鹰电线电缆经销部","广州市越秀区海珠中路120号之一铺","越秀区","聚氯乙烯电线60227IEC06(RV) 0.5 mm2/Koyan Titan","浙江通阳线缆有限公司（原环宇集团光阳电线电缆有限公司）","温州北白象工业区","100 m","2019.4.25","10件","合格","不合格","不合格"]
[2,"广州市镇塑电线有限公司越秀分公司","广州市越秀区海珠中路99号","越秀区","铜芯聚氯乙烯绝缘电线(AVR) 0.3 mm2/金花","广州市镇塑电线有限公司","广州市花都区花东镇永溪路5号（金田工业区）","200 m","2019.5.30","10件","合格","合格","合格"]
[3,"上海人民电缆厂广州销售中心","广州市越秀区海珠中路120号之二","越秀区","聚氯乙烯绝缘电缆（电线）60227IEC06(RV) 0.3 mm2/人民®","上海人民电缆厂","上海松江泗泾莘砖公路1388号","100 m","2019.5.8","10件","合格","不合格","不合格"]
[4,"上海人民电缆厂广州销售中心","广州市越秀区海珠中路120号之二","越秀区","聚氯乙烯绝缘电缆（电线）60227IEC06(RV) 0.5 mm2/人民®","上海人民电缆厂","上海松江泗泾莘砖公路1388号","100 m","2019.4.28","10件","合格","不合格","不合格"]
[5,"广州市海珠区隆圣电器商行","广州市海珠区沥窖振兴大街11号广东粤景五金交电批发市场一区149-152号","海珠区","铜芯聚氯乙烯绝缘阻燃电缆ZC-BV 1×1.5 mm2/珠江电缆®","广东珠江电线电缆有限公司","佛山市南海区里水镇和桂工业园A区","100 m","2019.6.12","10件","合格","合格","合格"]
[6,"广州市海珠区胜隆电线电缆经营部","广州市海珠区广州南天(国际)酒店用品批发市场53栋17、18、19号","海珠区","铜芯聚氯乙烯绝缘电线BV 1×1 mm2 /成天泰®","深圳市成天泰电缆实业发展有限公司","深圳市光明新区公明办事处李松蓢社区金角工业区成泰工业园","100 m","2019.5.2","10件","合格","合格","合格"]
[7,"广州市海珠区宏煕机电工具行","广州市海珠区广东粤景五金交电批发市场内第89号","海珠区","一般用途单芯硬导体无护套电缆(2.5 mm2)/ 永壹珠江®","广东永壹珠江电缆有限公司","广东省广州市番禺区石基镇小龙村塱尾工业区21号","100 m","2019.6.16","10件","合格","合格","合格"]
[8,"广州市海珠区宏煕机电工具行","广州市海珠区广东粤景五金交电批发市场内第89号","海珠区","铜芯聚氯乙烯绝缘聚氯乙烯护套圆形电缆(2.5 mm2) / 永壹珠江®","广东永壹珠江电缆有限公司","广东省广州市番禺区石基镇小龙村塱尾工业区21号","100 m","2019.6.18","10件","合格","合格","合格"]
[9,"广州市恒星电线氟塑有限公司","广州市荔湾区东沙街五菱路3号（即白家围工业区内）","荔湾区","电线 1430（XLPVC）/高星","\\","\\","50 m","2019.7.4","10件","合格","合格","合格"]
[10,"广州市恒星电线氟塑有限公司","广州市荔湾区东沙街五菱路3号（即白家围工业区内）","荔湾区","电线1332（FEP）/高星","\\","\\","50 m","2019.7.3","10件","合格","合格","合格"]
[11,"广州市荔湾电线厂","广州市荔湾区中山七路215-217号","荔湾区","一般用途单芯硬导体无护套电缆60227 IEC 01(BV)450/750V（1.5 mm2）/三圈牌","\\","\\","100 m","2019.4.27","10件","合格","合格","合格"]
[12,"广州市荔湾电线厂","广州市荔湾区中山七路215-217号","荔湾区","铜芯PVC绝缘阻燃C类电线ZC-BV 450/750V（1.5 mm2）/三圈牌","\\","\\","100 m","2018.7.3","10件","合格","合格","合格"]
[13,"广州市白云人民电缆有限公司","广州市白云区石井镇石潭路水闸街12号","白云区","60227 IEC 05(BV)铜芯聚氯乙烯绝缘电线（1 mm2）/PUXING®","\\","\\","100 米","2019.5.24","10件","合格","合格","合格"]
[14,"广州市白云人民电缆有限公司","广州市白云区石井镇石潭路水闸街12号","白云区","BVV铜芯聚氯乙烯绝缘聚氯乙烯护套圆形电缆（1 mm2）/ PUXING®","\\","\\","100 米","2019.5.25","10件","合格","合格","合格"]
[15,"广州市禾丰电线电缆有限公司","广州市白云区新市联边村尹边工业园二幢二层","白云区","一般用途单芯硬导体无护套电线60227 IEC 01(BV)2.5 mm2/禾丰","\\","\\","100 m","2019.3.10","10件","合格","不合格","不合格"]
[16,"广州市禾丰电线电缆有限公司","广州市白云区新市联边村尹边工业园二幢二层","白云区","一般用途单芯硬导体无护套电缆60227 IEC 01(BV)1.5 mm2/禾丰","\\","\\","100 m","2019.1.10","10件","合格","合格","合格"]
[17,"广州民兴电线电缆有限公司","广州市白云区江高镇神山管理区振华北路88号E6座","白云区","铜芯阻燃聚氯乙烯绝缘电线电缆ZB-BVR （2.5 mm2）/夌丰®","\\","\\","100 m","2019.6.1","10件","合格","不合格","不合格"]
[18,"广东穗星电缆实业有限公司","广州市白云区神山工业区振华路自编128号","白云区","阻燃电缆ZR-IVB-BV (1×1 mm2)/穗星","\\","\\","100 m","2019.6.15","10件","合格","合格","合格"]
[19,"广州民兴电线电缆有限公司","广州市白云区江高镇神山管理区振华北路88号E6座","白云区","铜芯阻燃聚氯乙烯绝缘电线电缆ZB-BVR （1.5 mm2）/夌丰®","\\","\\","100 m","2019.3.15","10件","合格","不合格","不合格"]
[20,"广东穗星电缆实业有限公司","广州市白云区神山工业区振华路自编128号","白云区","阻燃电缆ZR-IVB-BV (1×0.75 mm2)/穗星","\\","\\","100 m","2019.6.2","10件","合格","合格","合格"]
[21,"广东南缆电缆有限公司","广州市白云区钟落潭镇红旗路30号101厂","白云区","低烟无卤阻燃耐火C类聚烯烃绝缘电线（2.5 mm2）/南电","\\","\\","100 m","2019.6.21","10件","合格","合格","合格"]
[22,"广州市胜泽电缆有限公司","广州市白云区西槎路聚龙路段聚富五金塑料品批发市场中6-18号","白云区","铜芯聚氯乙烯绝缘阻燃软电线(ZR-BVR) 1.5 mm2/胜泽®","广州市胜泽电缆有限公司","广州市白云区新市联边工业区","100 M","2019.6.18","10件","不合格","合格","不合格"]
[23,"广东南缆电缆有限公司","广州市白云区钟落潭镇红旗路30号101厂","白云区","阻燃一般用途单芯硬导体无护套电缆（4 mm2）/南电","\\","\\","100 m","2019.6.14","10件","合格","合格","合格"]
[24,"广州市庆丰电线厂有限公司","广州市白云区石井庆丰二路11号","白云区","铜芯聚氯乙烯绝缘电缆60227 IEC 01(BV)（1.5 mm2）/庆丰","\\","\\","100 m","2018.11.30","10件","合格","合格","合格"]
[25,"广州市白云区松洲新芝五金交电批发商行","广州市白云区西槎路聚龙路段聚富五金塑料品批发市场中6街20号铺","白云区","聚氯乙烯无护套电线电缆 RV（0.75 mm2）/华利隆","佛山市五良电缆有限公司","佛山市南海区和顺和桂工业园A区","100 m","2019.6.1","10件","合格","不合格","不合格"]
[26,"广州市庆丰电线厂有限公司","广州市白云区石井庆丰二路11号","白云区","聚氯乙烯绝缘阻燃B类电缆ZB-BV（1.5 mm2）/庆丰","\\","\\","100 m","2018.12.5","10件","合格","合格","合格"]
[27,"广州市白云区松洲新芝五金交电批发商行","广州市白云区西槎路聚龙路段聚富五金塑料品批发市场中6街20号铺","白云区","聚氯乙烯无护套电线电缆 RV（0.5 mm2）/华利隆","佛山市五良电缆有限公司","佛山市南海区和顺和桂工业园A区","100 m","2019.5.30","10件","合格","不合格","不合格"]
[28,"广州市白云区松洲晶泰电气商行","广州市白云区西槎路聚龙路段广州市白云区聚富五金塑料品批发市场中6街12、13号","白云区","铜芯聚氯乙烯绝缘软电缆BVR 1×1.5/CHNT","浙江正泰电缆有限公司","浙江省嘉兴市南湖工业区(大桥)江南路1号","100 m","2019.4.4","10件","合格","合格","合格"]
[29,"广州市胜泽电缆有限公司","广州市白云区西槎路聚龙路段聚富五金塑料品批发市场中6-18号","白云区","铜芯聚氯乙烯绝缘阻燃软电线(ZR-BVR) 2.5 mm2/胜泽®","广州市胜泽电缆有限公司","广州市白云区新市联边工业区","100 M","2019.6.18","10件","不合格","合格","不合格"]
[30,"广州富羽电缆实业有限公司","广州市萝岗区永和经济区田园路84号D座","黄埔区","聚氯乙烯绝缘无护套电缆电线（1.5 mm2）60227 IEC 01(BV)/富羽","\\","\\","100 米","2019.4.16","10件","合格","合格","合格"]
[31,"广州南洋电缆有限公司","广州经济技术开发区永和经济区永丰路19号","黄埔区","一般用途单芯硬导体无护套电缆60227 IEC 01(BV) (2.5 mm2)/NAN","\\","\\","100 m","2019.6.19","10件","合格","合格","合格"]
[32,"广州南洋电缆有限公司","广州经济技术开发区永和经济区永丰路19号","黄埔区","铜芯聚氯乙烯绝缘阻燃C类电线 ZC-BV(2.5 mm2)/NAN","\\","\\","100 m","2019.6.19","10件","合格","合格","合格"]
[33,"广东天虹电缆有限公司","广州经济技术开发区永和经济区禾丰四街5号","黄埔区","聚氯乙烯绝缘无护套电线电缆60227 IEC 01（BV） (2.5 mm2)/天泓","\\","\\","100 m","2019.3.17","10件","合格","合格","合格"]
[34,"广东天虹电缆有限公司","广州经济技术开发区永和经济区禾丰四街5号","黄埔区","聚氯乙烯绝缘无护套电线电缆BVR (2.5 mm2)/天泓","\\","\\","100 m","2019.3.17","10件","合格","合格","合格"]
[35,"广东永行线缆实业有限公司","广州市花都区雅瑶镇三向东路25号","花都区","内部布线用导体温度70℃的单芯软导体无护套电缆","广东永行线缆实业有限公司","广州市花都区雅瑶镇三向东路25号","100m","2019.8.1","10卷","合格","合格","合格"]
[36,"广州市东风电缆有限公司","广州市花都区炭步镇才径路","花都区","铜芯聚氯乙烯绝缘阻燃软电线","广州市东风电缆有限公司","广州市花都区炭步镇才径路","100米","2019.1.17","10卷","合格","合格","合格"]
[37,"广州市秀全电线电缆有限责任公司","广州市花都区新华镇三东工业园凤凰路","花都区","秀全牌/铜芯聚氯乙烯绝缘软电缆","广州市秀全电线电缆有限责任公司","广州市花都区新华镇三东工业园凤凰路","100m","2019.8.8","10捆","合格","合格","合格"]
[38,"广州花城珠江电缆有限公司","广州市花都区炭步镇小塘路1号自编之三101号","花都区","花珠/聚氯乙烯绝缘阻燃C类固定布线用电线","广州花城珠江电缆有限公司","广州市花都区炭步镇小塘路1号自编之三101号","100m","2019.8.9","10卷","合格","合格","合格"]
[39,"广东现代珠江电缆实业有限公司","广州市花都区新华街马溪村港口工业区13号厂房","花都区","荔湾珠江/一般用途单芯硬导体无护套电缆","广东现代珠江电缆实业有限公司","广州市花都区新华街马溪村港口工业区13号厂房","100m","2019.4.20","10卷","合格","合格","合格"]
[40,"广东现代珠江电缆实业有限公司","广州市花都区新华街马溪村港口工业区13号厂房","花都区","荔湾珠江/一般用途单芯硬导体无护套电缆","广东现代珠江电缆实业有限公司","广州市花都区新华街马溪村港口工业区13号厂房","100m","2019.4.20","10卷","合格","合格","合格"]
[41,"广东珠江线缆有限公司","广州市花都区花东镇山前旅游大道1号101","花都区","铜芯阻燃C级聚氯乙烯绝缘电线电缆","广东珠江线缆有限公司","广州市花都区花东镇山前旅游大道1号101","100m","2019.8.15","10捆","合格","合格","合格"]
[42,"广州市镇塑电线有限公司","广州市花都区花东镇永溪路5号","花都区","金花/铜芯聚氯乙烯绝缘电线","广州市镇塑电线有限公司","广州市花都区花东镇永溪路5号","100m","2019年6月7日","10卷","合格","合格","合格"]
[43,"珠江电缆实业有限公司","广州市花都区花山镇东方村七队19号厂房2","花都区","珠实/铜芯聚氯乙烯绝缘阻燃C类软电缆","珠江电缆实业有限公司","广州市花都区花山镇东方村七队19号厂房2","100m","2019.8.7","10捆","合格","合格","合格"]
[44,"广东思柏科技股份有限公司","广州市花都区花山镇华侨科技工业园","花都区","思柏/一般用途单芯硬导体无护套电缆","广东思柏科技股份有限公司","广州市花都区花山镇华侨科技工业园","100m","2018.11.6","10捆","合格","合格","合格"]
[45,"广东金源宇电线电缆有限公司","广州市花都区秀全街冠山中路自编6号01-06商铺","花都区","金源宇/铜芯聚氯乙烯绝缘电缆","广东金源宇电线电缆有限公司","广州市花都区秀全街冠山中路自编6号01-06商铺","100m","2019.6.27","10卷","合格","合格","合格"]
[46,"广州番电特种线缆科技有限公司","广州市番禺区化龙镇国贸大道南57号（A厂房）","番禺区","东兴/普通氯丁或其他相当的合成弹性体橡套软线","广州番电特种线缆科技有限公司","广州市番禺区化龙镇国贸大道南57号（A厂房）","100m","2019.03.28","10卷","合格","合格","合格"]
[47,"广东珠江冠缆实业有限公司","广州市番禺区石基镇小龙村仇岗工业区3号之二","番禺区","冠缆/聚氯乙烯绝缘无护套电线电缆","广东珠江冠缆实业有限公司","广州市番禺区石基镇小龙村仇岗工业区3号之二","100m","2019.03.18","10卷","合格","合格","合格"]
[48,"广东广缆电缆实业有限公司","广州市番禺区石基镇小龙村仇岗工业区3号之二","番禺区","无/聚氯乙烯绝缘无护套电线电缆2.5mm","广东广缆电缆实业有限公司","广州市番禺区石基镇小龙村仇岗工业区3号","100m","2019.03.18","10卷","合格","合格","合格"]
[49,"广东珠江冠缆实业有限公司","广州市番禺区石基镇小龙村仇岗工业区3号之二","番禺区","冠缆/阻燃电缆","广东珠江冠缆实业有限公司","广州市番禺区石基镇小龙村仇岗工业区3号之二","100m","2019.04.15","10卷","合格","不合格","不合格"]
[50,"广东广缆电缆实业有限公司","广州市番禺区石基镇小龙村仇岗工业区3号之二","番禺区","无/聚氯乙烯绝缘无护套电线电缆1.5mm","广东广缆电缆实业有限公司","广州市番禺区石基镇小龙村仇岗工业区3号","100m","2019.03.18","10卷","合格","合格","合格"]
[51,"广州兰普电缆有限公司","广州市番禺区南村镇坑头东线路五横路15号101","番禺区","LPCHN/兰普电缆 （AVVR） \n4×0.3mm","广州兰普电缆有限公司","广州市番禺区南村镇坑头东线路五横路15号101","100m","2019.07.03","10卷","合格","合格","合格"]
[52,"广州番禺电缆集团有限公司","广州市番禺区南村镇市新路北段280号","番禺区","番电乐光/聚氯乙烯绝缘聚氯乙烯护套阻燃电缆","广州番禺电缆集团有限公司","广州市番禺区南村镇市新路北段280号","100m","2019.05.08","10卷","合格","合格","合格"]
[53,"广州兰普电缆有限公司","广州市番禺区南村镇坑头东线路五横路15号101","番禺区","LPCHN/兰普电缆 (RV)  1.5mm2","广州兰普电缆有限公司","广州市番禺区南村镇坑头东线路五横路15号101","100m","2019.07.06","10卷","合格","不合格","不合格"]
[54,"广州番禺电缆集团有限公司","广州市番禺区南村镇市新路北段280号","番禺区","番电乐光/铜芯聚氯乙烯绝缘软电缆","广州番禺电缆集团有限公司","广州市番禺区南村镇市新路北段280号","100m","2019.02.18","10卷","合格","合格","合格"]
[55,"广州市番禺区鸿力电缆有限公司","广州市番禺区南村镇草塘村","番禺区","鸿力/铜芯聚氯乙烯绝缘阻燃电线","广州市番禺区鸿力电缆有限公司","广州市番禺区南村镇草塘村","100m","2019.06.29","13卷","合格","合格","合格"]
[56,"广州市番禺区鸿力电缆有限公司","广州市番禺区南村镇草塘村","番禺区","鸿力/铜芯聚氯乙烯绝缘聚氯乙烯护套圆型电缆","广州市番禺区鸿力电缆有限公司","广州市番禺区南村镇草塘村","100m","2019.03.22","10卷","合格","合格","合格"]
[57,"广州启光智造技术服务股份有限公司","广州市番禺区大龙街沙涌村长沙路17号（厂房）","番禺区","启光/内部布线用导体温度为70℃单芯软导体无护套电缆","广州启光智造技术服务股份有限公司","广州市番禺区大龙街沙涌村长沙路17号（厂房）","100m","2019.03.21","10卷","合格","合格","合格"]
[58,"广州启光智造技术服务股份有限公司","广州市番禺区大龙街沙涌村长沙路17号（厂房）","番禺区","启光/一般用途单芯软导体无护套电缆","广州启光智造技术服务股份有限公司","广州市番禺区大龙街沙涌村长沙路17号（厂房）","100m","2019.05.28","10卷","合格","合格","合格"]
[59,"广东永壹珠江电缆有限公司","广州市番禺区石基镇小龙村朗尾工业区21号","番禺区","永壹珠江/铜芯聚氯乙烯绝缘软电线","广东永壹珠江电缆有限公司","广州市番禺区石基镇小龙村朗尾工业区21号","100m","2019.07.04","13卷","合格","合格","合格"]
[60,"广东永壹珠江电缆有限公司","广州市番禺区石基镇小龙村朗尾工业区21号","番禺区","永壹珠江/铜芯聚氯乙烯绝缘聚氯乙烯护套圆形电缆","广东永壹珠江电缆有限公司","广州市番禺区石基镇小龙村朗尾工业区21号","100m","2019.06.18","13卷","合格","合格","合格"]
[61,"广州电缆厂有限公司","广州市南沙区榄核镇榄张路51号","南沙区","铜芯聚氯乙烯绝缘软电缆BVR（1×1.5 mm2）/双菱","\\","\\","100 m","2019.6.6","10件","合格","合格","合格"]
[62,"广州电缆厂有限公司","广州市南沙区榄核镇榄张路51号","南沙区","铜芯聚氯乙烯绝缘软电缆BVR（1×1.0 mm2）/双菱","\\","\\","100 m","2019.6.11","10件","合格","合格","合格"]
[63,"广东新荔湾电缆有限公司","广州市从化区明珠工业园区建设南路153号之211","从化区","铜芯阻燃聚氯乙烯绝缘电线ZR-IVB-BV（1.5 mm2）/三固","\\","\\","100 m","2019.6.12","10件","合格","合格","合格"]
[64,"广东新荔湾电缆有限公司","广州市从化区明珠工业园区建设南路153号之211","从化区","铜芯阻燃聚氯乙烯绝缘电线ZR-IVB-BV（1 mm2）/三固","\\","\\","100 m","2019.4.27","10件","合格","合格","合格"]
[65,"广州市天圣电线电缆有限公司","温泉镇石海工业区工业大道工业南路3号","从化区","聚氯乙烯绝缘无护套电缆电线","广州市天圣电线电缆有限公司","温泉镇石海工业区工业大道工业南路3号","100 m","2019.04.23","10卷","合格","合格","合格"]
[66,"广州永澳电缆有限公司","从化区温泉镇云星村广从公路边","从化区","一般用途单芯软导体无护套电缆","广州永澳电缆有限公司","从化区温泉镇云星村广从公路边","100 m","2019/2/21","10卷","合格","合格","合格"]
[67,"广州永澳电缆有限公司","从化区温泉镇云星村广从公路边","从化区","一般用途单芯硬导体无护套电缆","广州永澳电缆有限公司","从化区温泉镇云星村广从公路边","100 m","2019/2/21","10卷","合格","合格","合格"]
[68,"广州珠江电缆有限公司","广东从化经济开发区高技术产业园高湖公路26号","从化区","阻燃电缆","广州珠江电缆有限公司","广东从化经济开发区高技术产业园高湖公路26号","100 m","2019-06-08","13卷","合格","合格","合格"]
[69,"广州珠江电缆有限公司","广东从化经济开发区高技术产业园高湖公路26号","从化区","阻燃电缆","广州珠江电缆有限公司","广东从化经济开发区高技术产业园高湖公路26号","100 m","2019-05-06","13卷","合格","合格","合格"]
[70,"广州市明兴电缆有限公司","广东从化经济开发区太平镇平中路338号","从化区","铜芯聚氯乙烯绝缘阻燃C类软电缆","广州市明兴电缆有限公司","广东从化经济开发区太平镇平中路338号","100 m","2019年6月8日","13卷","合格","合格","合格"]
[71,"广州市明兴电缆有限公司","广东从化经济开发区太平镇平中路338号","从化区","铜芯聚氯乙烯绝缘聚氯乙烯护套阻燃C类圆形电缆","广州市明兴电缆有限公司","广东从化经济开发区太平镇平中路338号","100 m","2019年4月23日","13卷","合格","合格","合格"]
[72,"广州市新兴电缆实业有限公司 ","广东省广州市增城新塘镇创新大道27号","增城区","阻燃铜芯聚氯乙烯绝缘电缆1.5m㎡","广州市新兴电缆实业有限公司 ","广东省广州市增城新塘镇创新大道27号","100m","2019.09.11","10卷","合格","合格","合格"]
[73,"广州市新兴电缆实业有限公司 ","广东省广州市增城新塘镇创新大道27号","增城区","阻燃铜芯聚氯乙烯绝缘电缆2.5m㎡","广州市新兴电缆实业有限公司 ","广东省广州市增城新塘镇创新大道27号","100m","2019.09.11","13卷","合格","合格","合格"]
[74,"广州市五羊电线厂有限公司增城分公司","广州市增城石滩镇三江第一工业区6栋","增城区","一般用途单芯硬导体无护套电缆1.5m㎡","广州市五羊电线厂有限公司增城分公司","广州市增城石滩镇三江第一工业区6栋","100m","2019.09.25","10卷","合格","合格","合格"]
[75,"广州市五羊电线厂有限公司增城分公司","广州市增城石滩镇三江第一工业区6栋","增城区","铜芯聚氯乙烯绝缘软电缆2.5m㎡","广州市五羊电线厂有限公司增城分公司","广州市增城石滩镇三江第一工业区6栋","100m","2019.09.05","10卷","合格","合格","合格"]
[76,"广东坚宝电缆有限公司","广州市增城增江街广汕公路边沥口路段","增城区","一般用途单芯硬导体无护套电缆1.5m㎡","广东坚宝电缆有限公司","广州市增城增江街广汕公路边沥口路段","100m","2019.08.30","10卷","合格","合格","合格"]
[77,"广东坚宝电缆有限公司","广州市增城增江街广汕公路边沥口路段","增城区","一般用途单芯硬导体无护套电缆2.5m㎡","广东坚宝电缆有限公司","广州市增城增江街广汕公路边沥口路段","100m","2019.04.27","10卷","合格","合格","合格"]
[78,"广州市沙埔长江电线电缆有限公司","广州市增城沙埔镇沙埔开发区","增城区","铜芯聚氯乙烯绝缘软电缆2.5m㎡","广州市沙埔长江电线电缆有限公司","广州市增城沙埔镇沙埔开发区","100m","2019.09.05","10卷","合格","合格","合格"]
[79,"广州市沙埔长江电线电缆有限公司","广州市增城沙埔镇沙埔开发区","增城区","一般用途单芯硬导体无护套电缆1.5m㎡","广州市沙埔长江电线电缆有限公司","广州市增城沙埔镇沙埔开发区","100m","2019.09.11","10卷","合格","合格","合格"]
[80,"广州日信实业有限公司","广州市增城朱村街朱村大道中49号（厂房A3）","增城区","一般用途单芯硬导体无护套电缆1.5m㎡","广州日信实业有限公司","广州市增城朱村街朱村大道中49号（厂房A3）","100m","2019.10.21","10卷","合格","合格","合格"]
[81,"广州日信实业有限公司","广州市增城朱村街朱村大道中49号（厂房A3）","增城区","内部布线用单芯硬导体无护套电缆1.0m㎡","广州日信实业有限公司","广州市增城朱村街朱村大道中49号（厂房A3）","100m","2019.10.05","10卷","合格","合格","合格"]
[82,"广州市壹缆电缆实业有限公司","广州市增城新塘镇太平洋工业区内127、128号（厂房）","增城区","阻燃聚氯乙烯绝缘电线电缆1m㎡","广州市壹缆电缆实业有限公司","广州市增城新塘镇太平洋工业区内127、128号（厂房）","100m","2019.07.14","10卷","合格","合格","合格"]
[83,"广州市壹缆电缆实业有限公司","广州市增城新塘镇太平洋工业区内127、128号（厂房）","增城区","阻燃聚氯乙烯绝缘电线电缆1.5m㎡","广州市壹缆电缆实业有限公司","广州市增城新塘镇太平洋工业区内127、128号（厂房）","100m","2019.01.18","10卷","合格","合格","合格"]
[84,"广东粤缆电线电缆有限公司","增城区永宁街创强路128号（生产车间2）","增城区","铜芯聚氯乙烯绝缘阻燃电缆","广东粤缆电线电缆有限公司","增城区永宁街创强路128号（生产车间2）","100m","2019.05.16","10卷","合格","合格","合格"]
[85,"广东粤缆电线电缆有限公司","增城区永宁街创强路128号（生产车间3）","增城区","铜芯聚氯乙烯绝缘阻燃软电缆","广东粤缆电线电缆有限公司","增城区永宁街创强路128号（生产车间3）","100m","2019.03.24","10卷","合格","合格","合格"]
[86,"南方珠江科技有限公司","广东省广州市增城区永宁街创强路128号（生产车间三）","增城区","铜芯聚氯乙烯绝缘阻燃B类软电缆","南方珠江科技有限公司","广东省广州市增城区永宁街创强路128号（生产车间三）","100m","2019.03.18","10卷","合格","合格","合格"]
[87,"南方珠江科技有限公司","广东省广州市增城区永宁街创强路128号（生产车间三）","增城区","铜芯聚氯乙烯绝缘阻燃C类软电缆","南方珠江科技有限公司","广东省广州市增城区永宁街创强路128号（生产车间三）","100m","2019.09.26","10卷","合格","合格","合格"]
[88,"广东荣达电通科技有限公司","广州市增城区新塘镇白石村大岭头（土名）","增城区","聚氯乙烯绝缘软电缆6m㎡","广东荣达电通科技有限公司","广州市增城区新塘镇白石村大岭头（土名）","100m","2019.06.10","7卷","合格","合格","合格"]
[89,"广东荣达电通科技有限公司","广州市增城区新塘镇白石村大岭头（土名）","增城区","聚氯乙烯绝缘软电缆2.5m㎡","广东荣达电通科技有限公司","广州市增城区新塘镇白石村大岭头（土名）","100m","2019.05.10","10卷","合格","合格","合格"]
[90,"广州粤道实业有限公司","广东省广州市增城区永宁街（宁西中元村）工业一路3号（高权厂区内26栋厂房1、2、3楼）","增城区","聚氯乙烯绝缘屏蔽电线","广州粤道实业有限公司","广东省广州市增城区永宁街（宁西中元村）工业一路3号（高权厂区内26栋厂房1、2、3楼）","200m","2019.08.30","5卷","合格","合格","合格"]
[91,"广州市文德电线电缆有限公司","新塘镇上邵村大岭岗","增城区","数字通信用电缆HYV2*0.5","广州市文德电线电缆有限公司","新塘镇上邵村大岭岗","200m","2019.06.25","10卷","合格","合格","合格"]
[92,"广州市文德电线电缆有限公司","新塘镇上邵村大岭岗","增城区","数字通信用电缆HYV2*2*0.5","广州市文德电线电缆有限公司","新塘镇上邵村大岭岗","200m","2019.07.09","10卷","合格","合格","合格"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}