{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":4,"n_cols":12,"rows_kept":4,"merged":[[0,0,0,11],[1,0,1,11]],"flags":["formulas_cached_only"]}
["附件"]
["2022年佛山市消防应急灯具产品质量监督抽查不合格产品及企业名单"]
["序号","检验报告编号","产品统一名称","产品标称名称","标称          生产者名称","标称生产者地址","商标","受检单位","抽样地址","规格/型号","不合格项目","备注"]
[1,"XG2201326","消防应急灯具","消防应急照明灯具","广东潽洛德照明科技有限公司","江门市蓬江区荷塘镇高沙滩东路6号1幢三楼之2","-------","佛山市庆联丰五金建材有限公司","佛山市南海区大沥镇盐步平地路段（原世贸纺织城）14馆1号商铺（住所申报）","PL-ZFZD-E3WC","转换电压性能"]