{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":126,"n_cols":12,"rows_kept":126,"merged":[[0,0,0,11]]}
["2022-2023年电线电缆产品专项监督抽查企业名单"]
["序号","被抽查市场主体名称","被抽样市场主体地址","生产单位名称（标称）","生产单位地址（标称）","产品名称","商标（标称）","规格型号","生产日期/批号","综合判定","不合格项目","备注"]
[1,"广州市荔湾电线厂","广州市荔湾区中山七路215-217号","广州市荔湾电线厂","广州市荔湾区中山七路215-217号","铜芯PVC绝缘阻燃C类电线","----","450/750V 2.5mm ZC-BV","2021-12-02","未发现不合格"]
[2,"广州市荔湾电线厂","广州市荔湾区中山七路215-217号","广州市荔湾电线厂","广州市荔湾区中山七路215-217号","铜芯PVC绝缘护套圆形电缆","----","300/500V  2.5mm BVV","2022-06-18","未发现不合格"]
[3,"广东志合电线电缆股份有限公司","广州市黄埔区云埔工业区云埔一路18号自编第5栋","广东志合电线电缆股份有限公司","广州市黄埔区云埔工业区云埔一路18号自编第5栋","聚氯乙烯绝缘无护套电缆电线","----","450/750V 1.5mm 60227 IEC 02(RV)","2021.11.6","未发现不合格"]
[4,"广州晟景实业有限公司","广州市黄埔区云埔工业园东城片仓联工业园D1地块F栋四楼","广州晟景实业有限公司","广州市黄埔区云埔工业园东城片仓联工业园D1地块F栋四楼","聚氯乙烯护套软线","----","300/300V 2×0.5mm 60227 IEC 52(RVV)","2022-07-04","未发现不合格"]
[5,"广东珠江元赞电缆有限公司","广州市花都区花东镇联安村桔排东街93号","广东珠江元赞电缆有限公司","广州市花都区花东镇联安村桔排东街93号","铜芯聚氯乙烯绝缘阻燃C类电缆","----","450/750V 2.5mm ZC-BVR","2022-07-10","未发现不合格"]
[6,"广州市镇塑电线有限公司","广州市花都区花东镇永溪路5号","广州市镇塑电线有限公司","广州市花都区花东镇永溪路5号","铜芯聚氯乙烯护套电缆","----","4×77/0.2 4×2.5mm 60227 IEC 53(RVV)","2022-04-25","未发现不合格"]
[7,"广州南洋电缆集团有限公司","广州经济技术开发区永和经济区永丰路19号","广州南洋电缆集团有限公司","广州经济技术开发区永和经济区永丰路19号","铜芯聚氯乙烯绝缘聚氯乙烯护套阻燃C类软电缆","NAN","3×1.5 ZC-RVV","2022-03-10","未发现不合格"]
[8,"广州南洋电缆集团有限公司","广州经济技术开发区永和经济区永丰路19号","广州南洋电缆集团有限公司","广州经济技术开发区永和经济区永丰路19号","铜芯交联聚乙烯绝缘聚氯乙烯护套阻燃C类电力电缆","NAN","0.6/1kV  5×10 ZC-YJV","2022-03-01","未发现不合格"]
[9,"广州凯恒特种电线电缆有限公司","广州市经济技术开发区广汕路长安148号凯恒科技园","广州凯恒特种电线电缆有限公司","广州市经济技术开发区广汕路长安148号凯恒科技园","铜芯无卤低烟阻燃交联聚烯烃绝缘固定敷设用软电缆","----","1×2.5mm WDZ-BYJR","2022.7.6","未发现不合格"]
[10,"广东胜宇电缆实业有限公司","广州市黄埔区东枝路23号","广东胜宇电缆实业有限公司","广州市黄埔区东枝路23号","聚氯乙烯绝缘阻燃C类固定布线用电线","----","450/750V  1×1.5mm  ZC-BV","2021-12-15","未发现不合格"]
[11,"广东胜宇电缆实业有限公司","广州市黄埔区东枝路23号","广东胜宇电缆实业有限公司","广州市黄埔区东枝路23号","阻燃型(C类)铜芯交联聚乙烯绝缘聚氯乙烯护套电力电缆","----","3×70+1×35mm ZC-YJV","2022-07-13","未发现不合格"]
[12,"广东永行线缆实业有限公司","广州市花都区新雅街雅堤路1号2栋101、201房","广东永行线缆实业有限公司","广州市花都区新雅街雅堤路1号2栋101、201房","聚氯乙烯绝缘无护套电线","----","0.75mm 60227 IEC 06(RV)","2022.05.21","未发现不合格"]
[13,"广州市奇胜电线电缆有限公司","广州市花都区新雅街东莞村华兴北路99号之六","广州市奇胜电线电缆有限公司","广州市花都区新雅街东莞村华兴北路99号之六","铜芯聚氯乙烯绝缘阻燃软电缆","图形商标","1×2.5mm ZC-BVR","2022-07-10","未发现不合格"]
[14,"广东金源宇电线电缆有限公司","广州市花都区秀全街冠山南路8号","广东金源宇电线电缆有限公司","广州市花都区秀全街冠山南路8号","铜芯聚氯乙烯绝缘及护套软电缆","----","300/500V  3×4+1×2.5  RVV","2022-06-23","未发现不合格"]
[15,"广东金源宇电线电缆有限公司","广州市花都区秀全街冠山南路8号","广东金源宇电线电缆有限公司","广州市花都区秀全街冠山南路8号","铜芯聚氯乙烯绝缘聚氯乙烯护套电力电缆","----","0.6/1kV  5×6mm  VV","2022-07-17","未发现不合格"]
[16,"广东现代珠江电缆实业有限公司","广州市花都区新华街马溪村港口工业区13号厂房","广东现代珠江电缆实业有限公司","广州市花都区新华街马溪村港口工业区13号厂房","普通聚氯乙烯护套阻燃C类软线","----","300/500V  3×2.5mm  ZC-RVV","2022.6.6","未发现不合格"]
[17,"广东现代珠江电缆实业有限公司","广州市花都区新华街马溪村港口工业区13号厂房","广东现代珠江电缆实业有限公司","广州市花都区新华街马溪村港口工业区13号厂房","聚氯乙烯绝缘聚氯乙烯护套电力电缆","----","0.6/1kV  3×2.5  VV","2021.12.15","未发现不合格"]
[18,"广东天虹电缆有限公司","广州经济技术开发区永和经济区禾丰四街5号","广东天虹电缆有限公司","广州经济技术开发区永和经济区禾丰四街5号","交联聚乙烯绝缘聚烯烃护套无卤低烟阻燃C类电力电缆","天泓","3×70+1×35mm WDZC-YJY","2022-07-04","未发现不合格"]
[19,"广州富羽电缆实业有限公司","广州市萝岗区永和经济区田园路84号D座","广州富羽电缆实业有限公司","广州市萝岗区永和经济区田园路84号D座","聚氯乙烯绝缘无护套电缆电线","图形商标","1.5mm 60227 IEC 01(BV)","2022-04-07","未发现不合格"]
[20,"广东天虹电缆有限公司","广州经济技术开发区永和经济区禾丰四街5号","广东天虹电缆有限公司","广州经济技术开发区永和经济区禾丰四街5号","阻燃聚氯乙烯绝缘无护套电线电缆","天泓","2.5mm ZB-BV","2022-07-15","未发现不合格"]
[21,"广东英牌电缆实业有限公司","广州市白云区兴太三路1131号一楼","广东英牌电缆实业有限公司","广州市白云区兴太三路1131号一楼","交联聚乙烯绝缘护套聚氯乙烯电力电缆","图形商标","5×10 YJV","2022.4.24","未发现不合格"]
[22,"珠江电缆实业有限公司","广州市花都区花山镇华侨科技工业园育才东路2号","珠江电缆实业有限公司","广州市花都区花山镇华侨科技工业园育才东路2号","交联聚氯乙烯护套阻燃电力电缆","----","0.6/1kV  4×16+1×10  ZC-YJV","2022.04.07","未发现不合格"]
[23,"珠江电缆实业有限公司","广州市花都区花山镇华侨科技工业园育才东路2号","珠江电缆实业有限公司","广州市花都区花山镇华侨科技工业园育才东路2号","铜芯聚氯乙烯绝缘阻燃C类软电缆","----"," 450/750V  2.5mm ZC-BVR","2021-06-03","未发现不合格"]
[24,"广州市秀全电线电缆有限责任公司","广州市花都区新华镇三东工业园凤凰路","广州市秀全电线电缆有限责任公司","广州市花都区新华镇三东工业园凤凰路","铜芯聚氯乙烯绝缘软电缆","秀全","450/750V  6mm 19/0.63mm  BVR","2022.6.09","未发现不合格"]
[25,"广州市秀全电线电缆有限责任公司","广州市花都区新华镇三东工业园凤凰路","广州市秀全电线电缆有限责任公司","广州市花都区新华镇三东工业园凤凰路","交联聚乙烯绝缘聚氯乙烯护套电力电缆","秀全"," 0.6/1kV  5×16mm YJV","2022.2.22","未发现不合格"]
[26,"广东英牌电缆实业有限公司","广州市白云区兴太三路1131号一楼","广东英牌电缆实业有限公司","广州市白云区兴太三路1131号一楼","铜芯聚氯乙烯绝缘电线电缆","图形商标","4mm ZC-BV",2022.06,"未发现不合格"]
[27,"广东力缆科技有限公司","广州市白云区钟落潭镇金埔庄路北片工业区E幢9号103","广东力缆科技有限公司","广州市白云区钟落潭镇金埔庄路北片工业区E幢9号103","铜芯聚氯乙烯绝缘阻燃C类电线","----","2.5mm ZC-BVR","2022.07.20","未发现不合格"]
[28,"广东南缆电缆有限公司","广州市白云区钟落潭镇红旗路30号101厂","广东南缆电缆有限公司","广州市白云区钟落潭镇红旗路30号101厂","铜芯聚氯乙烯绝缘电线","图形商标"," 2.5mm 60227 IEC 01(BV)","2022.03.29","未发现不合格"]
[29,"广东南缆电缆有限公司","广州市白云区钟落潭镇红旗路30号101厂","广东南缆电缆有限公司","广州市白云区钟落潭镇红旗路30号101厂","交联聚乙烯绝缘聚氯乙烯护套电力电缆","----","5×16mm YJV","2022-07-13","未发现不合格"]
[30,"广州宇洪科技股份有限公司白云分公司","广州市白云区钟落潭镇寮采路123号之一厂","广州宇洪科技股份有限公司白云分公司","广州市白云区钟落潭镇寮采路123号之一厂","普通聚氯乙烯护套软线","----","2×1.0mm 60227 IEC 53(RVV)","2022-07-23","未发现不合格"]
[31,"广州市东风电缆有限公司","广州市花都区炭步镇才经路","广州市东风电缆有限公司","广州市花都区炭步镇才经路","铜芯聚氯乙烯绝缘聚氯乙烯护套电力电缆","----"," 0.6/1kV  3×16+1×10mm VV","2022.03.25","未发现不合格"]
[32,"广州市东风电缆有限公司","广州市花都区炭步镇才经路","广州市东风电缆有限公司","广州市花都区炭步镇才经路","铜芯聚氯乙烯绝缘阻燃电缆","----","450/750V 4mm ZB-BV",20220316,"未发现不合格"]
[33,"广州腾飞电工材料有限公司","广州市花都区炭步镇茶塘工业区茶西一路自编12号","广州腾飞电工材料有限公司","广州市花都区炭步镇茶塘工业区茶西一路自编12号","聚氯乙烯绝缘软电缆电线","----","300/500V  3×1.5mm  60227 IEC 53(RVV)","2022-06-10","未发现不合格"]
[34,"广东思柏科技股份有限公司","广州市花都区炭步镇合进路8号","广东思柏科技股份有限公司","广州市花都区炭步镇合进路8号","交联聚氯乙烯护套电力电缆","----","0.6/1kV  4×35+1×16  YJV","2022.04.07","未发现不合格"]
[35,"广东思柏科技股份有限公司","广州市花都区炭步镇合进路8号","广东思柏科技股份有限公司","广州市花都区炭步镇合进路8号","铜芯聚氯乙烯绝缘阻燃C类软电缆","----","4mm ZC-BVR","2022-03-29","未发现不合格"]
[36,"广州市凯博电线电缆有限公司","广州市花都区花东镇北兴工业区5号","广州市凯博电线电缆有限公司","广州市花都区花东镇北兴工业区5号","聚氯乙烯绝缘软电缆电线","----","300/500V 3×0.75mm 60227 IEC 53(RVV)","2022.04.20","未发现不合格"]
[37,"广州市珠江电线厂有限公司","广州市花都区秀全街毕村北路4号3、4号厂房","广州市珠江电线厂有限公司","广州市花都区秀全街毕村北路4号3、4号厂房","铜芯聚氯乙烯绝缘软电缆","图形商标","450/750V 1×2.5mm BVR","2022.06.15","未发现不合格"]
[38,"广州市珠江电线厂有限公司","广州市花都区秀全街毕村北路4号3、4号厂房","广州市珠江电线厂有限公司","广州市花都区秀全街毕村北路4号3、4号厂房","阻燃C类电缆","图形商标","450/750V  1×2.5mm  ZC-BVR","2022-07-02","未发现不合格"]
[39,"广州市兴瑞电子有限公司","广州市白云区江高镇中兴路31号四、五楼","广州市兴瑞电子有限公司","广州市白云区江高镇中兴路31号四、五楼","聚氯乙烯绝缘软电缆电线","----","2×1.0mm 60227 IEC 53(RVV)","2022-08-23","未发现不合格"]
[40,"广州市禾丰电线电缆有限公司","广州市白云区鹤龙街联边村尹边三街11号","广州市禾丰电线电缆有限公司","广州市白云区鹤龙街联边村尹边三街11号","铜芯聚氯乙烯绝缘软电线","禾丰","450/750V  2.5mm  BVR","2022.09.02","未发现不合格"]
[41,"广州市禾丰电线电缆有限公司","广州市白云区鹤龙街联边村尹边三街11号","广州市禾丰电线电缆有限公司","广州市白云区鹤龙街联边村尹边三街11号","铜芯聚氯乙烯绝缘阻燃软电缆","禾丰","450/750V  4mm  ZC-BVR","2022-09-13","未发现不合格"]
[42,"广东穗星电缆实业有限公司","广州市白云区神山工业区振华路自编128号","广东穗星电缆实业有限公司","广州市白云区神山工业区振华路自编128号","阻燃C类电力电缆","穗星","4×70+1×35 0.6/1kV ZC-YJV","2021.04.24","未发现不合格"]
[43,"广东穗星电缆实业有限公司","广州市白云区神山工业区振华路自编128号","广东穗星电缆实业有限公司","广州市白云区神山工业区振华路自编128号","阻燃C类电缆","穗星","2.5mm ZC-BV","2022-09-12","未发现不合格"]
[44,"广东永壹珠江线材有限公司","广州市番禺区石基镇小龙村塱尾工业区21号1楼","广东永壹珠江线材有限公司","广州市番禺区石基镇小龙村塱尾工业区21号1楼","铜芯聚氯乙烯绝缘软电缆","图形商标","450/750V 2.5mm BVR","2022-08-15","未发现不合格"]
[45,"广东永壹珠江线材有限公司","广州市番禺区石基镇小龙村塱尾工业区21号1楼","广东永壹珠江线材有限公司","广州市番禺区石基镇小龙村塱尾工业区21号1楼","普通聚氯乙烯护套软线","图形商标","300/500V 2×2.5mm 60227 IEC 53(RVV)","2022-07-28","未发现不合格"]
[46,"广州澳通电线电缆有限公司","广州市黄埔区星玥街7号1602房","广州澳通电线电缆有限公司","广州市黄埔区星玥街7号1602房","铜芯交联聚乙烯绝缘聚氯乙烯护套电力电缆","----","4×10 0.6/1kV YJV","2022.05.18","未发现不合格"]
[47,"广州澳通电线电缆有限公司","广州市黄埔区星玥街7号1602房","广州澳通电线电缆有限公司","广州市从化区明珠工业园区明珠大道北吉祥二路1号","铜芯聚氯乙烯绝缘电缆","----","1×1.5mm 60227 IEC 01(BV)","2022.05.03","未发现不合格"]
[48,"广东新荔湾电缆有限公司","广州市从化区明珠工业园区建设南路153号之211","广东新荔湾电缆有限公司","广州市从化区明珠工业园区建设南路153号之211","铜芯聚氯乙烯绝缘阻燃C类软电缆","图形商标","4mm 450/750V ZC-BVR","2022-10-15","未发现不合格"]
[49,"广东新荔湾电缆有限公司","广州市从化区明珠工业园区建设南路153号之211","广东新荔湾电缆有限公司","广州市从化区明珠工业园区建设南路153号之211","铜芯C类阻燃交联聚乙烯绝缘聚氯乙烯护套电力电缆","图形商标","3×4 ZC-YJV","2022.09.16","未发现不合格"]
[50,"莱茵电线电缆（广州）有限公司","广州市从化区鳌头镇人和路601号之一首层","莱茵电线电缆（广州）有限公司","广州市从化区鳌头镇人和路601号之一首层","铜芯聚氯乙烯绝缘无护套电线电缆","图形商标","2.5mm 450/750V BVR","2022-06-17","未发现不合格"]
[51,"广东庆丰电缆集团有限公司","广州市番禺区沙湾镇青萝大道127号101","广东庆丰电缆集团有限公司","广州市番禺区沙湾镇青萝大道127号101","一般用途单芯硬导体无护套电缆","图形商标","2.5mm 450/750V 60227 IEC 01(BV)","2022-07-16","未发现不合格"]
[52,"广东广缆电缆实业有限公司","广州市番禺区沙湾镇青萝大道127号104","广东广缆电缆实业有限公司","广州市番禺区沙湾镇青萝大道127号104","一般用途单芯硬导体无护套电缆","广缆","2.5mm 450/750V 60227 IEC 01(BV)","2022-09-30","未发现不合格"]
[53,"广东精工电缆实业有限公司","广州市番禺区沙湾镇青萝大道127号105","广东精工电缆实业有限公司","广州市番禺区沙湾镇青萝大道127号105","一般用途单芯硬导体无护套电缆","图形商标","2.5mm 450/750V 60227 IEC 01(BV)","2022-07-16","未发现不合格"]
[54,"广东珠江冠缆实业有限公司","广州市番禺区沙湾镇青萝大道127号102","广东珠江冠缆实业有限公司","广州市番禺区沙湾镇青萝大道127号102","铜芯聚氯乙烯绝缘软电缆","图形商标","2.5mm 450/750V BVR","2022-07-18","未发现不合格"]
[55,"广东珠江冠缆实业有限公司","广州市番禺区沙湾镇青萝大道127号102","广东珠江冠缆实业有限公司","广州市番禺区沙湾镇青萝大道127号102","铜芯交联聚乙烯绝缘聚氯乙烯护套电力电缆","图形商标","5×6mm 0.6/1kV YJV","2022-08-15","未发现不合格"]
[56,"广州市番禺区永泰电缆厂","广州市番禺区沙湾镇沙渡公路福涌村工业区内","广州市番禺区永泰电缆厂","广州市番禺区沙湾镇沙渡公路福涌村工业区内","聚氯乙烯绝缘软电缆电线","----","3×0.75mm 300/500V 60227 IEC 53(RVV)","2022-03-22","未发现不合格"]
[57,"广州珠江电缆有限公司","广东从化区经济开发区高技术产业园高湖公路26号","广州珠江电缆有限公司","广东从化区经济开发区高技术产业园高湖公路26号","铜芯聚氯乙烯绝缘软电缆","花城","1×2.5 BVR","2022-07-23","未发现不合格"]
[58,"广州珠江电缆有限公司","广东从化区经济开发区高技术产业园高湖公路26号","广州珠江电缆有限公司","广东从化区经济开发区高技术产业园高湖公路26号","阻燃电缆","花城","4×16+1×10 ZC-YJV","2022-07-16","未发现不合格"]
[59,"广州永澳电缆有限公司","广州市从化温泉镇云星村广从公路边","广州永澳电缆有限公司","广州市从化温泉镇云星村广从公路边","一般用途单芯硬导体无护套电缆","----","1.5mm 60227 IEC 01(BV)","2022-02-21","未发现不合格"]
[60,"广州市明兴电缆有限公司","广州市从化区太平镇平中大道388号","广州市明兴电缆有限公司","广州市从化区太平镇平中大道388号","铜芯聚氯乙烯绝缘阻燃软电缆","----","4mm ZC-BVR","2022-10-22","未发现不合格"]
[61,"广州市明兴电缆有限公司","广州市从化区太平镇平中大道388号","广州市明兴电缆有限公司","广州市从化区太平镇平中大道388号","交联聚乙烯绝缘（阻燃）电力电缆","明兴","3×10mm ZC-YJV","2022-07-21","未发现不合格"]
[62,"广东粤缆电线电缆有限公司","广州市增城区永宁街创强路128号(生产车间2)","广东粤缆电线电缆有限公司","广州市增城区永宁街创强路128号(生产车间2)","一般用途单芯硬导体无护套电缆","----","2.5mm 60227 IEC 01(BV)","2022-05-22","未发现不合格"]
[63,"广东粤缆电线电缆有限公司","广州市增城区永宁街创强路128号(生产车间2)","广东粤缆电线电缆有限公司","广州市增城区永宁街创强路128号(生产车间2)","铜芯交联聚乙烯绝缘聚氯乙烯护套阻燃C类电力电缆","----","3×16+1×10 ZC-YJV","2022-05-16","未发现不合格"]
[64,"南方珠江科技有限公司","广州市增城区永宁街创强路128号(生产车间三)","南方珠江科技有限公司","广州市增城区宁西街工业一路2号2栋","一般用途单芯硬导体无护套电缆","南方一线","1.5mm 60227 IEC 01(BV)","2022.5.23","未发现不合格"]
[65,"南方珠江科技有限公司","广州市增城区永宁街创强路128号(生产车间三)","南方珠江科技有限公司","广州市增城区宁西街工业一路2号2栋","铜芯交联聚乙烯绝缘聚氯乙烯护套阻燃C类电力电缆","南方一线","0.6/1kV 3×4mm ZC-YJV","2022.7.10","未发现不合格"]
[66,"广州市新兴电缆实业有限公司","广州市增城新塘镇创新大道27号","广州市新兴电缆实业有限公司","广州市增城新塘镇创新大道27号","一般用途单芯硬导体无护套电缆","----","2.5mm 60227IEC01(BV)","2022-06-17","未发现不合格"]
[67,"广州市新兴电缆实业有限公司","广州市增城新塘镇创新大道27号","广州市新兴电缆实业有限公司","广州市增城新塘镇创新大道27号","铜芯聚氯乙烯绝缘聚氯乙烯护套电力电缆","----","3×2.5mm 0.6/1kV VV","2022.9.21","未发现不合格"]
[68,"广州粤道实业股份有限公司","广州市增城区新塘镇管道金沙路13号之三四楼401","广州粤道实业股份有限公司","广东省广州市增城区新塘镇管道金沙路13号A、B栋4楼","聚氯乙烯绝缘护套软电缆电线","----","2×1.5mm 60227 IEC 53(RVV)","2022.7.8","未发现不合格"]
[69,"广州日信实业有限公司","广州市增城区仙村镇沙滘村庙岭、坳园(土名)厂房A4-1","广州日信实业有限公司","广州市增城区仙村镇沙滘村庙岭、坳园(土名)厂房A4-1","轻型聚氯乙烯护套软线","----","2×0.5mm 60227 IEC 52(RVV)","2022.09.29","未发现不合格"]
[70,"广州羊城电缆有限公司","广州市增城区石滩镇沙庄上塘村上围东二路9号(厂房一)","广州羊城电缆有限公司","广州市增城区石滩镇沙庄上塘村上围东二路9号(厂房一)","铜芯交联聚乙烯绝缘聚氯乙烯护套阻燃电力电缆","羊城天下","0.6/1kV 5×16mm ZC-YJV","2022.09.25","未发现不合格"]
[71,"广州羊城电缆有限公司","广州市增城区石滩镇沙庄上塘村上围东二路9号(厂房一)","广州羊城电缆有限公司","广州市增城区石滩镇沙庄上塘村上围东二路9号(厂房一)","铜芯聚氯乙烯绝缘护套阻燃电缆","羊城天下","2.5mm ZC-BV","2022.09.15","未发现不合格"]
[72,"广州岭南电缆股份有限公司","广州市南沙区榄核镇人绿路163号自编一栋(12号研发大楼)、自编二栋(6号厂房及立式交联电缆车间)、自编四栋(4号厂房)、自编五栋(2号厂房)、自编六栋(1号厂房)自编七栋(5号厂房)","广州岭南电缆股份有限公司","广州市南沙区榄核镇人绿路163号自编一栋(12号研发大楼)、自编二栋(6号厂房及立式交联电缆车间)、自编四栋(4号厂房)、自编五栋(2号厂房)、自编六栋(1号厂房)自编七栋(5号厂房)","铜芯聚氯乙烯绝缘软电线电缆","图形商标","1×2.5 60227 IEC 02(RV)","2022-02-11","未发现不合格"]
[73,"广州岭南电缆股份有限公司","广州市南沙区榄核镇人绿路163号自编一栋（12号研发大楼）、自编二栋（6号厂房及立式交联电缆车间）、自编四栋（4号厂房）、自编五栋（2号厂房）、自编六栋（1号厂房）自编七栋（5号厂房）","广州岭南电缆股份有限公司","广州市南沙区榄核镇人绿路163号自编一栋（12号研发大楼）、自编二栋（6号厂房及立式交联电缆车间）、自编四栋（4号厂房）、自编五栋（2号厂房）、自编六栋（1号厂房）自编七栋（5号厂房）","阻燃控制电缆","图形商标","450/750V 4×1.5 ZRA-KVVP2-22","2022-07-01","未发现不合格"]
[74,"广州电缆厂有限公司","广州市南沙区榄核镇榄张路51号","广州电缆厂有限公司","广州市南沙区榄核镇榄张路51号","一般用途单芯硬导体无护套电缆","图形商标","1×2.5mm 绿色 60227 IEC 01(BV)","2022-09-24","未发现不合格"]
[75,"广州电缆厂有限公司","广州市南沙区榄核镇榄张路51号","广州电缆厂有限公司","广州市南沙区榄核镇榄张路51号","聚氯乙烯绝缘聚氯乙烯护套钢带铠装阻燃控制电缆","图形商标","19×6mm ZA-KVV22","2022-07-02","未发现不合格"]
[76,"广东东南电缆实业有限公司","广州市南沙区榄核镇榄张路206号101","广东东南电缆实业有限公司","广州市南沙区榄核镇榄张路206号101","铜芯聚氯乙烯绝缘阻燃C类软电缆","图形商标","1×4mm 450/750V ZC-BVR","2022-10-24","未发现不合格"]
[77,"广东东南电缆实业有限公司","广州市南沙区榄核镇榄张路206号101","广东东南电缆实业有限公司","广州市南沙区榄核镇榄张路206号101","铜芯聚氯乙烯绝缘聚氯乙烯护套电力电缆","图形商标","3×6mm 0.6/1kV VV","2022-08-26","未发现不合格"]
[78,"广东坚宝电缆有限公司","广州市增城增江街广汕路边沥口路段","广东坚宝电缆有限公司","广州市增城增江街广汕路边沥口路段","一般用途单芯硬导体无护套电缆","图形商标","2.5mm 60227IEC01(BV)","2022-10-27","未发现不合格"]
[79,"广东坚宝电缆有限公司","广州市增城增江街广汕路边沥口路段","广东坚宝电缆有限公司","广州市增城增江街广汕路边沥口路段","聚氯乙烯绝缘聚氯乙烯护套电力电缆","----","5×10mm VV","2022-09-28","未发现不合格"]
[80,"广东万瑞通电缆实业有限公司","广州市增城区增江街府前路8号厂房A13","广东万瑞通电缆实业有限公司","广州市增城区增江街府前路8号厂房A13","交联聚乙烯绝缘聚氯乙烯护套阻燃电力电缆","图形商标","4×10mm ZC-YJV","2022.09.28","未发现不合格"]
[81,"广东黄埔珠江电线电缆有限公司","广州市增城区仙村镇上境村原东盛水泥厂内3号楼201号","广东黄埔珠江电线电缆有限公司","广州市增城区仙村镇上境村原东盛水泥厂内3号楼201号","阻燃型铜芯聚氯乙烯绝缘电缆","图形商标","1×2.5mm ZC-BV","2022-10-24","未发现不合格"]
[82,"广东黄埔珠江电线电缆有限公司","广州市增城区仙村镇上境村原东盛水泥厂内3号楼201号","广东黄埔珠江电线电缆有限公司","广州市增城区仙村镇上境村原东盛水泥厂内3号楼201号","交联聚乙烯绝缘聚氯乙烯护套电力电缆","----","5×10mm YJV","2022.9.7","未发现不合格"]
[83,"广州市沙埔长江电线电缆有限公司","广州市增城沙埔镇沙埔开发区","广州市沙埔长江电线电缆有限公司","广州市增城沙埔镇沙埔开发区","一般用途单芯硬导体无护套电缆","图形商标","1.5mm 60227 IEC 01(BV)","2022-10-15","未发现不合格"]
[84,"广州市沙埔长江电线电缆有限公司","广州市增城沙埔镇沙埔开发区","广州市沙埔长江电线电缆有限公司","广州市增城沙埔镇沙埔开发区","铜芯聚氯乙烯绝缘聚氯乙烯护套电力电缆","图形商标","4×4mm VV","2022.9.25","未发现不合格"]
[85,"广州市壹缆电缆实业有限公司","广州市增城新塘镇太平洋工业区内127、128号(厂房)","广州市壹缆电缆实业有限公司","广州市增城新塘镇太平洋工业区内127、128号(厂房)","聚氯乙烯绝缘无护套阻燃电线电缆","广州壹缆","1×2.5mm ZC-BVR","2022-10-04","未发现不合格"]
[86,"广东荣达电通科技有限公司","广州市增城区新塘镇白石村大岭头(土名)","广东荣达电通科技有限公司","广州市增城区新塘镇白石村大岭头(土名)","聚氯乙烯绝缘无护套电缆电线","----","1.5mm 60227 IEC 02(RV)","2022.01.14","未发现不合格"]
[87,"广州市五羊电线厂有限公司增城分公司","广州市增城区石滩镇高门村小海(土名)","广州市五羊电线厂有限公司增城分公司","广州市增城区石滩镇高门村小海(土名)","阻燃型单芯导体无护套电缆","图形商标","1×1.5(B) ZR-IVB-BV","2022.09.29","未发现不合格"]
[88,"广东易初科技股份有限公司","广州市南沙区东涌镇太南路613号(厂房3)之一","广东易初科技股份有限公司","广州市南沙区东涌镇太南路613号(厂房3)之一","一般用途单芯软导体无护套电缆","易初","1.5 300/500V 60227 IEC 02 RV","2022-09-09","未发现不合格"]
[89,"广州市泰亨电子电器有限公司","广州市南沙区东涌镇市南公路东涌段14号","广州市泰亨电子电器有限公司","广州市南沙区东涌镇市南公路东涌段14号","聚氯乙烯绝缘软电缆电线","----","2×0.75mm 黑色 60227 IEC 52 RVV","2022.9.21","未发现不合格"]
[90,"广州兰普电缆有限公司","广州市番禺区南村镇坑头东线路五横路15号101","广州兰普电缆有限公司","广州市番禺区南村镇坑头东线路五横路15号101","聚氯乙烯绝缘无护套电缆电线","LPCHN","2.5mm 450/750V 60227 IEC02(RV)","2022-08-30","未发现不合格"]
[91,"广州市番禺区鸿力电缆有限公司","广州市番禺区南村镇草塘村","广州市番禺区鸿力电缆有限公司","广州市番禺区南村镇草塘村","铜芯聚氯乙烯绝缘阻燃电线","图形商标","1×2.5mm 450/750V ZC-BV","2022-10-27","未发现不合格"]
[92,"广州广日电气设备有限公司","广州市番禺区石楼镇国贸大道南636号之五","广州广日电气设备有限公司","广州市番禺区石楼镇国贸大道南636号之五","铜芯聚氯乙烯绝缘软电缆","----","2.5mm BVR","2022.10.26","未发现不合格"]
[93,"广州启光智造技术服务股份有限公司","广州市番禺区石楼镇莲花山保税区莲花港工业区7座A第一至四层厂房","广州启光智造技术服务股份有限公司","广州市番禺区石楼镇莲花山保税区莲花港工业区7座A第一至四层厂房","内部布线用导体温度为70℃的单芯实心导体无护套电缆","启光","7支 1mm BV","2022.6.29","未发现不合格"]
[94,"广州环球电业电器有限公司","广州市番禺区钟村街钟盛路66号","广州环球电业电器有限公司","广州市番禺区钟村街钟盛路66号","聚氯乙烯绝缘软电线电缆","HUAN QIU","300/500V 3*1.0mm 黑色 RVV","2022-07-06","未发现不合格"]
[95,"广州市庆丰电线厂有限公司","广州市白云区石井庆丰二路11号","广州市庆丰电线厂有限公司","广州市白云区石井庆丰二路11号","铜芯聚氯乙烯绝缘阻燃B类软电缆","----","1×2.5mm ZB-BVR","2022-11-14","未发现不合格"]
[96,"广州市白云人民电缆有限公司","广州市白云区石井镇石潭路水闸街12号","广州市白云人民电缆有限公司","广州市白云区石井镇石潭路水闸街12号","铜芯聚氯乙烯绝缘电线","----","1mm 300/500V 1/1.13mm 60227 IEC 05(BV)","2022-03-21","未发现不合格"]
[97,"广州市孖宝电缆有限公司","广州市白云区江高镇夏花四路3号","广州市孖宝电缆有限公司","广州市白云区江高镇夏花四路3号","普通聚氯乙烯护套软线","----","3×2.5mm 300/500V 60227 IEC 53(RVV)","2022-03-16","未发现不合格"]
[98,"广州市番禺区李辉泉五金店","广州市番禺区大龙街市莲路新桥村段123号之二","广东珠江电线电缆有限公司","佛山市南海区里水镇和桂工业园A区","铜芯聚氯乙烯绝缘聚氯乙烯护套阻燃软电缆","----","5×1mm ZR-RVV","----","未发现不合格"]
[99,"广州番禺南洋电缆贸易有限公司","广州市番禺区大龙街市莲路石岗西村段2号之二","南方珠江科技有限公司","广州市增城区国家经济技术开发区永宁街创强路128号","普通聚氯乙烯护套软线","南方一线","3×1mm 60227 IEC 53(RVV)","2022-06-19","未发现不合格"]
[100,"广州番禺南洋电缆贸易有限公司","广州市番禺区大龙街市莲路石岗西村段2号之二","南方珠江科技有限公司","广州市增城区国家经济技术开发区永宁街创强路128号","普通聚氯乙烯护套软线","南方一线","4×1mm 60227 IEC 53(RVV)","2022-09-24","未发现不合格"]
[101,"广州市番禺区民丰五金店","广州市番禺区大龙街亚运大道5号1座109","上海起帆电缆股份有限公司","安徽省池州市高新技术产业开发区生态大道起帆科技产业园","普通聚氯乙烯护套软线","----","4×1mm 60227 IEC 53(RVV)","2022-03-28","未发现不合格"]
[102,"广州市番禺区民丰五金店","广州市番禺区大龙街亚运大道5号1座109","上海起帆电缆股份有限公司","安徽省池州市高新技术产业开发区生态大道起帆科技产业园","普通聚氯乙烯护套软线","----","3×1.5mm 60227 IEC 53(RVV)","2022-02-23","未发现不合格"]
[103,"广州市番禺区民丰五金店","广州市番禺区大龙街亚运大道5号1座109","广州番禺电缆集团有限公司","广东省广州市番禺区南村镇市新路北段280号","普通聚氯乙烯护套软线","----","4×2.5 60227 IEC 53(RVV)","2022-09-05","未发现不合格"]
[104,"广州腾星电线电缆有限公司","广州市黄埔区黄埔东路3888号东兴市场五金区自编五金125-125A号","广州市新兴电缆实业有限公司","广州市增城国家经济技术开发区创新大道27号","阻燃铜芯聚氯乙烯绝缘电缆","----","3×1mm ZC-RVV","2022-08-25","未发现不合格"]
[105,"广州腾星电线电缆有限公司","广州市黄埔区黄埔东路3888号东兴市场五金区自编五金125-125A号","广东万瑞通电缆实业有限公司","广州市增城区增江街府前路8号","普通聚氯乙烯护套阻燃软线","----","3×1.0mm ZC-RVV","2022.07.14","未发现不合格"]
[106,"广州腾星电线电缆有限公司","广州市黄埔区黄埔东路3888号东兴市场五金区自编五金125-125A号","广东万瑞通电缆实业有限公司","广州市增城区增江街府前路8号","普通聚氯乙烯护套阻燃软线","----","4×1.0mm ZC-RVV","2022.06.18","未发现不合格"]
[107,"广东弘铭电线电缆有限公司","广州市黄埔区黄埔东路3888号东兴市场五金区自编2061号","广东华洋电缆实业有限公司","广东省佛山市南海区狮山镇沙头村红沙高新技术开发区惠国路东","普通聚氯乙烯护套软线","----","3×1mm 60227 IEC 53(RVV)","2022-08-19","未发现不合格"]
[108,"广东弘铭电线电缆有限公司","广州市黄埔区黄埔东路3888号东兴市场五金区自编2061号","广东华洋电缆实业有限公司","广东省佛山市南海区狮山镇沙头村红沙高新技术开发区惠国路东","普通聚氯乙烯护套软线","----","3×1.5mm 60227 IEC 53(RVV)","2022-10-27","未发现不合格"]
[109,"广东弘铭电线电缆有限公司","广州市黄埔区黄埔东路3888号东兴市场五金区自编2061号","东莞市高强信实业有限公司","广东省东莞市高埗镇草墩工业区","聚氯乙烯绝缘软屏蔽电缆","----","3×1.0 G7010-02  RVVP","2022-04-20","未发现不合格"]
[110,"广州市黄埔区集缆盛电线电缆经营部","广州市黄埔区南岗街黄埔东路3888号东兴市场五金区260-261号","广州市珠江电线厂有限公司","广州市花都区秀全街毕村北路4号3、4号厂房","阻燃C类电缆","----","3×1mm ZC-RVV","2022-09-26","未发现不合格"]
[111,"广州市黄埔区集缆盛电线电缆经营部","广州市黄埔区南岗街黄埔东路3888号东兴市场五金区260-261号","广东金联宇电缆实业有限公司","佛山市南海区里水镇沙步工业区","轻型聚氯乙烯护套软线","----","2×0.5mm 60227 IEC 52(RVV)","2022.10.29","未发现不合格"]
[112,"广州市黄埔区集缆盛电线电缆经营部","广州市黄埔区南岗街黄埔东路3888号东兴市场五金区260-261号","广东金联宇电缆实业有限公司","佛山市南海区里水镇沙步工业区","轻型聚氯乙烯护套软线","----","3×0.5mm 60227 IEC 52(RVV)","2022.05.11","未发现不合格"]
[113,"广州市黄埔区友好五金建材经营部","广州市黄埔区黄埔东路3888号广州黄埔东兴市场经营管理有限公司五金区自编286-287号","广州市新兴电缆实业有限公司","广州市增城国家经济技术开发区创新大道27号","阻燃铜芯聚氯乙烯绝缘电缆","----","3×2.5mm ZC-RVV","2022-11-09","未发现不合格"]
[114,"广州市黄埔区友好五金建材经营部","广州市黄埔区黄埔东路3888号广州黄埔东兴市场经营管理有限公司五金区自编286-287号","广东黄埔珠江电线电缆有限公司","广州市增城区仙村镇西南村竹园氹","阻燃型铜芯聚氯乙烯绝缘软电缆","----","3×1 ZC-RVV","2022.4.3","未发现不合格"]
[115,"广州市黄埔区友好五金建材经营部","广州市黄埔区黄埔东路3888号广州黄埔东兴市场经营管理有限公司五金区自编286-287号","广东珠江电线电缆有限公司","佛山市南海区里水镇和桂工业园A区","铜芯聚氯乙烯绝缘聚氯乙烯护套阻燃软电缆","----","3×4mm ZC-RVV","2022-03-05","未发现不合格"]
[116,"广东珠江元赞电缆有限公司","广州市花都区花东镇联安村桔排东街93号","广东珠江元赞电缆有限公司","广州市花都区花东镇联安村桔排东街93号","铜芯交联聚乙烯绝缘聚氯乙烯护套电力电缆","----","0.6/1kV  3×95+1×50  YJV","2022-07-12","不合格","EPR、HEPR和XLPE绝缘热延伸1)载荷下最大伸长率；ST2型PVC护套失重"]
[117,"广州市奇胜电线电缆有限公司","广州市花都区新雅街东莞村华兴北路99号之六","广州市奇胜电线电缆有限公司","广州市花都区新雅街东莞村华兴北路99号之六","无卤低烟阻燃电力电缆","图形商标","4×25+1×16mm WDZB-YJY","2022-06-28","不合格","XLPE绝缘的收缩最大允许收缩率；非金属护套老化前断裂伸长率；非金属护套老化后断裂伸长率"]
[118,"广州珠江电力设备实业有限公司","广州市花都区狮岭镇山前大道中63号","广州珠江电力设备实业有限公司","广州市花都区狮岭镇山前大道中63号","交联聚乙烯绝缘聚氯乙烯护套阻燃C类电力电缆","东一江","0.6/1kV 4×6mm ZC-YJV","2021.8.31","不合格","ST2型PVC护套失重"]
[119,"广州珠江电力设备实业有限公司","广州市花都区狮岭镇山前大道中63号","广州珠江电力设备实业有限公司","广州市花都区狮岭镇山前大道中63号","无卤低烟阻燃B类交联聚烯烃绝缘电缆","东一江","4mm WDZB-BYJ","2022.8.5","不合格","绝缘热延伸试验1)载荷下最大伸长率"]
[120,"广州锐纤联电子科技有限公司","广州市番禺区石基镇石碁村前锋北路光启道1号四楼","广州锐纤联电子科技有限公司","广州市番禺区石基镇石碁村前锋北路光启道1号四楼","聚氯乙烯绝缘软电缆电线","----","300V/500V 0.75mm 60227 IEC 06(RV)","2022-10-08","不合格","绝缘老化前抗张强度；绝缘老化后抗张强度"]
[121,"广州锐纤联电子科技有限公司","广州市番禺区石基镇石碁村前锋北路光启道1号四楼","广州锐纤联电子科技有限公司","广州市番禺区石基镇石碁村前锋北路光启道1号四楼","聚氯乙烯绝缘软电缆电线","----","300V/500V 1.5mm 60227 IEC 53(RVV)","2022-10-08","不合格","绝缘老化前抗张强度；绝缘老化后抗张强度；护套老化前抗张强度；护套老化后抗张强度"]
[122,"广州伟楠电线电缆有限公司","广州市白云区石门街红星珠岗工业一路30号(自主申报)","广州伟楠电线电缆有限公司","广州市白云区石门街红星珠岗工业一路30号(自主申报)","聚氯乙烯绝缘电线电缆","----","1.5mm 450/750V 30/0.25 60227 IEC 02(RV)","2022-10-28","不合格","绝缘最薄处厚度"]
[123,"广州市孖宝电缆有限公司","广州市白云区江高镇夏花四路3号","广州市孖宝电缆有限公司","广州市白云区江高镇夏花四路3号","额定电压0.6/1kV 交联聚乙烯绝缘聚氯乙烯护套电力电缆","----","4×16mm 0.6/1kV YJV","2022-08-12","不合格","XLPE绝缘的收缩最大允许收缩率"]
[" "]